## Questions for RFP
Radiology Equipment for Storrs and Avon
Bid #37577391/37608780
OBJECTIVES OF THE UCONN HEALTH CENTER | SUPPLIER RESPONSES
Mandatory Pre-Bid: Friday, March 15, 2013 2:00-4:00 PM Main Building AG093
Purpose of Request for Proposal (RFP)
The University of Connecticut Health Center is in the process of developing a multidisciplinary outpatient medical facility as a part of the newly constructed Storrs, CT –“Downtown Project” located near the main University Campus in Storrs, CT.
The new medical facilities will include a new Urgent Care Center and a separate multidisciplinary outpatient medical facility. Both new facilities will require their own radiographic units.
The third requested Radiographic Unit is a replacement unit for our outpatient Orthopedic Center located at 2 Simsbury Road, Avon, CT.
We are requesting proposals for Radiographic Units that meet the needs of the individual sites. The radiographic units can be CR or Digital. The proposals will be evaluated based on the applicability of the individual units to meet the needs of the patients that will be serviced in each location.
Since it is important that our Farmington, CT based Radiologists and Physicians have access to the radiographic images, it is mandatory that all proposed equipment interface to our Farmington, CT based Radiology Imaging Services Patient Information Management System and the Philips/ISite PACS. The selected vendor shall demonstrate that the Digital and/or CR Radiographic Units have been interfaced with the above referenced RIS / PACS information systems and ensure that all interfaced devices have the necessary hardware and software to connect to JDH’s Radiology Information System and PACS. A minimum number of steps necessary to send images to our PACS will be taken into consideration during the evaluation process and must include a DICOM conformance statement.
UCHC requests a proposal from qualified organizations to provide the sale, installation, support, training, maintenance and service of three new Digital and/or CR Radiographic Units. Qualified organizations can bid on one or all three of the required Radiographic units.
The goal of this RFP is to select the highest quality, most economical Digital or CR Radiographic Units that most closely matches the needs of UCHC in furtherance of UCHC’s mission to help our patients achieve and maintain healthy lives and restore wellness/health to maximum attainable levels.
Scope of Work
Work Plan - Completed Resultant Contractor Responsibilities Sheet (provided as Appendix A)
Methodologies - Description of how each resultant contractor responsibility will be accomplished including detailed explanation of the procedures or processes used to attain the expected outcomes
Deliverables - List of the form and content of each deliverable (outcome) including a description of the proposed method of working with UCHC, the resources or services requested of UCHC, if any, and the proposed method of receiving UCHC approval of deliverables
Schedule - Proposed work schedule by resultant contractor responsibility indicating when each resultant contractor responsibility will be accomplished including any significant milestones or deadlines and service level agreement timelines for all deliverables.
The selected vendor shall supply a list of the major components, the individual major component’s cost, and the total cost, including any installation costs of the system. Itemize any options requested on a separate list. Also, the vendor shall provide a list with costs of any disposables that are required in order to use the product in typical patient care settings.
The selected vendor shall provide to UCHC, at no additional cost, any safety-related and service diagnostic upgrades for the equipment purchased, for the life of the equipment.
The selected vendor shall provide UCHC with five complete packages, including itemized equipment list, equipment description/technical product data specifications, and acceptance test procedures.
Resultant Contractor Responsibilities
Below are the resultant contractor responsibilities:
A. Equipment Required:
1. Three new Digital or CR Radiographic Units to be located at the following facilities:
a) Storrs, CT. – New John Dempsey Hospital Outpatient Urgent Care Center located within the new Storrs Town Project
b) Storrs, CT – New UConn Medical Group Outpatient Multidisciplinary Group Medical Facility also located within the new Storrs Town Project – the multidisciplinary facility will provide the following medical services:
· Orthopedics including casting services
· Medical Cardiology
· Occupational Medicine
· OB/GYN
· Dermatology
· Internal Medicine/Family Practice
c) Avon, CT. – replacement Radiographic equipment for the UConn Medical Group Outpatient Orthopedic office facility located at 2 Simsbury Road, Avon, CT
d) Provide cost options for single reader and Multi- reader CR readers
e) All Radiographic systems must include Hi-resolution work station monitors for Physician workstations
2. The anticipated annual volumes for each equipment location are as follows:
a) Storrs, CT based Urgent Care Center – 1,400 exams per year
b) Storrs, CT. based multidisciplinary Medical Group including Orthopedics - 6,200 exams per year
c) Avon, CT based Orthopedic Group – 6,500 exams per year
Installation Requirements:
1. The vendor shall supply a Site Specific planning guide for each proposed piece of equipment. The guides shall contain diagrams and specifications on the proposed equipment that clearly identifies dimensions, clearances, mechanical, electrical and structural requirements. The vendor shall clearly indicate vendor/owner responsibilities for furnishing and installation of items required for the operation of the equipment.
2. The selected vendor shall be responsible for performing a thorough study of the existing power and structural features of each building, including load-bearing surfaces.
3. The selected vendor shall include any special installation requirements in the purchase price of the Digital and/or CR Radiographic Units.
4. The selected vendor shall state the electrical power requirements and grounding with respect to power line conditioning and protection from spikes, surges, sags, loss of power, and other power line interferences.
Power Line Conditioning:
1. The selected vendor shall provide Power Line Conditioning or an Uninterruptible Power System (UPS) protection as required to protect all components of the Digital and/or CR Radiographic Units from line sags and surges.
2. The selected vendor shall provide Power Line Conditioning or an Uninterruptible Power System (UPS) protection as required to protect all components of the Digital and/or CR Radiographic Units and to ensure the system is not damaged or affected by power interruptions of up to 10 seconds.
Compliance:
1. The selected vendor shall ensure the Radiographic Units are FDA Approved and compliant with the requirements of the Bureau of Radiological Health and the Connecticut Department of Environmental Protection’s requirements for x-ray systems.
2. The selected vendor(s) shall ensure that any components of the Radiographic Units involved with direct patient care complies with NFPA 99-1999 Health Care Facilities Standards for medical equipment, and meets Underwriter Laboratory Standard #60601-1 (or equivalent) for Medical Equipment.
3. The selected vendor(s) shall comply with the above referenced industry standards to ensure that the Radiographic Units meet radiological, electrical, and general safety requirements for use in the patient vicinity in the health care environment.
Training:
1. The selected vendor shall provide formal and informal training for the Imaging Services physicians/residents and clinical personnel in the operation of the Digital and/or CR Radiographic Units. If training is performed off-site, the selected vendor shall absorb all training expenses including tuition, travel, and per diem.
2. The selected vendor shall provide factory-level training for two (2) UCHC service personnel on preventive maintenance and repair of the Digital and/or CR Radiographic Units. If training is performed off-site, the selected vendor shall absorb all training expenses including tuition, travel, and per diem.
Trade-In/Removal:
1. The selected vendor shall be responsible for the trade-in/removal of the existing radiographic system including generator, cabling, console, etc., from our Avon Location at 2 Simsbury Rd, Avon, CT.
2. Selected vendor shall sign a University of Connecticut form documenting transfer of ownership and responsibility for safe use, transfer and/or disposal of the removed equipment.
X-Ray “On” Light:
The selected vendor shall be responsible for the X-Ray “on” light located outside the room, above the door.
Lighting:
The selected vendor shall include lighting in the room layout and design, include Auto-Dimming, etc.
UCHC Responsibility:
The selected vendor shall consider the Electrical Power Outlets in the Procedure Room as part of the room layout including number and locations. UCHC shall be responsible for purchase and installation of any new additional outlets.
Length of Contract
Resultant Contract Period, Funding, and Number of Awards
UCHC anticipates the purchase of the 3 Radiographic Units. We expect the associated service contracts to be for 4 years after the warrantee period.
To ensure a fair, open, and competitive process, UCHC will not disclose the funding available for this RFP.
Under this Request for Proposal (RFP), UCHC expects to award one or more resultant contracts to purchase the Digital and/or CR Radiographic Units.
The resultant contract will be for a three-year period with the option for two (2) one-year extensions at the discretion of UCHC. The resultant contract period may change subject to UCHC project schedules.
Contract
If you do not submit a signed contract, you must submit a "red lined" version of the contract with the bid response. Additionally, provide the contact information (name, job title, address, telephone number, fax number, and email address) of the person responsible for reviewing and editing contractual documentation on the "red lined" version. NOTE: An editable version of the contract was submitted with the original RFP.
Service Requirements:
1. Manuals:
a) The selected vendor shall provide two complete sets of
Operator Manuals, Service Manuals, Schematics, and Parts Lists for the Digital and/or CR Radiographic Units including all accessories.
b) The selected vendor shall also include an electronic version if available.
2. Installation:
The selected vendor shall perform all aspects of installation including rigging of overhead crane installation, etc.
3. Acceptance and Warranty:
a) Clinical Engineering, Imaging Services, Radiation Safety and medical Physicist shall perform Acceptance Testing. All entities shall include the verification of all equipment technical specifications, software, and safety features.
b) A minimum 12-month warranty period is to begin when the system is fully operational and accepted for clinical use and performs as described in the technical specifications.
c) During the warranty period, UCHC has the right to return the system, without penalty, for a full refund, if it is found to be unacceptable due to deficiencies in meeting the technical and performance specifications on the bid and in the system’s product literature.
d) During the warranty period, the selected vendor shall furnish all labor, travel, and parts necessary to maintain all equipment specified under the purchase agreement in proper operating condition. The selected vendor shall provide services 24 hours per day, 7 days per week, and
365 days per year as necessary for urgently needed repairs. The selected vendor shall respond, on-site, within 4 hours, during the warranty period.
4. Service Response Time During the Warranty and For the Life of the Equipment:
a) The selected vendor shall provide telephone and on-site response for emergency service requests 24-hours per day, 365 days per year.
b) The selected vendor shall provide telephone response to service problems within 30 minutes.
c) The selected vendor shall provide 2 hour on-site response time to service problems for the Digital Radiographic Units. The selected vendor shall state the location of the primary service engineer and the location and travel time for the backup service support for the primary service engineer, in the event of sickness, vacation, etc.
d) The selected provider’s response time shall be the same whether under service contract or if maintenance is handled on a time & materials basis, following the warranty period.
5. Documentation:
The selected vendor shall provide the Clinical Engineering Department with individual written reports for each maintenance event whether it is scheduled maintenance or repair.
a) All such documentation must be acceptable to the field surveyors of The Joint Commission (TJC), the Bureau of Radiological Health, and the State of Connecticut.
b) The reports must adequately detail the work performed; provide accurate hours for labor and travel; give list prices for any parts of subassemblies that were replaced.
6. Loaner Equipment:
During the warranty period and under future service arrangements with the vendor, loaner equipment, assemblies and subassemblies required to fully operate the system, will be provided at no cost, if they cannot be repaired and will cause the system to be down more than 24 hours.
7. Hours of Coverage: During and After the Warranty Period
The Principal Period of Maintenance (PPM) on the items purchased will be from 8:00am 8:00pm, Monday – Friday, excluding legal holidays. During this time period, normal labor and travel rates will apply (if service is not covered by the warranty). Premium rates will apply if service is requested by UCHC outside the PPM.
9. Uptime guaranteed for the warranty period and for full service contracts:
The service vendor shall guarantee 99% uptime during the PPM from 8:00am-8:00pm, Monday-Friday, excluding 6 legal holidays. This totals 765 hours per quarter. At the end of each quarter, the uptime shall be calculated as follows:
[(765 hrs - hours of hard down time) / 765 hrs] x 100 = % uptime
If the Digital Radiographic Units fall below the guaranteed uptime, the warranty shall be extended one month for each percent below the 99% uptime or the quarterly service contract payment will be reduced according to the following table if under service contract:
UPTIME REDUCTION 99.0 - 100% NONE 95.0 - 98.9% 10% 90.0 - 94.9% 15% 80.0 - 89.9% 20% 79.9 or below 25%
10. Calibration and Test Equipment:
The selected vendor shall provide calibration procedures, and necessary calibration tools, fixtures, phantoms, etc with the system in order to check and calibrate the system.
As part of the purchase and completed installation, the selected vendor shall satisfactorily interface the Digital and or CR Radiographic Units with Radiology’s Imaging Services Patient Information Management System and the Philips/ISite PACS. The selected vendor shall demonstrate that the Digital Radiographic Units have been interfaced with the above referenced RIS / PACS information systems and ensure that all interfaced devices have the necessary hardware and software to connect to JDH’s Radiology Information System and PACS. Minimum number of steps to send images to PACS must include DICOM conformance statement.
As part of the purchase and completed installation, the selected vendor shall satisfactorily interface the Digital Radiographic Units with Radiology’s Kodak Dry Laser Technology and Fuji Computed Radiography (CR) technology.
11. Enhancements:
1. Software Enhancements:
Any software packages and enhancements to the Digital Radiographic Units that are presently being developed and are released during the warranty period will be provided to UCHC at no charge.
2. Hardware Enhancements:
Any hardware enhancements or platform upgrades developed for the Digital Radiographic Units that are released during the warranty period will be provided to UCHC at a 50% discount off list price.
Organizational Capability and Structure | II. RFP-Questions (Beginning on Row 114-Enter Responses Below)
Responses in this section must describe the proposer's background and experience. The responses must also address the details regarding the proposer's size and resources relevant to this RFP. To submit a responsive proposal, proposers shall:
General Proposer Information - Provide detailed information on its company including, but not limited to, the following:
Company name and address
Name, telephone number, fax number, and email address of contact person
Number of staff
Year the company was established and number of years in business
Proposer Qualifications - Describe how its experience meets the requirements of this RFP.
Summary of Relevant Experience - List the projects completed within the last three years in the area of Commercial Brokerage and Consultant Advisory Services with emphasis on activities relevant and related to the requirements specified in this RFP.
Organizational Chart - Provide an organizational chart showing the hierarchical structure of functions and positions within its organization.
Audited Financial Statements - Provide audited financial statements or equivalent information for each of the last three appropriate fiscal years (statements must be prepared by an independent Certified Public Accountant and reviewed or audited in accordance with Generally Accepted Accounting Principles).
If proposer has been in business less than three years, the proposer shall include any financial statements prepared by a Certified Public Accountant and reviewed and audited in accordance with Generally Accepted Accounting Principles for the entire existence of such firm or corporation.
Proposer’s References
To submit a responsive proposal, proposers shall provide three specific references for the proposer. References must be able to comment on the proposer’s capability to perform the services specified in this RFP. The contact person must be an individual familiar with the proposer and its day-to-day performance. If the proposer has been a State contractor within the last three years, the proposer must include a State of Connecticut reference. Proposers are strongly encouraged to call or write their references to ensure the accuracy of their contact information and their willingness and capability to be references. References must include:
Organization’s name, address, telephone number, fax number, email address, and Web address (organizations must be of comparable size and complexity as UCHC)
Name and title of a contact person
Brief description of the services provided to referenced customer
Initial service date
Staffing Plan
The resultant procurement advisory firm must notify UCHC in advance and in writing of the departure of any key personnel assigned to this project. Responses to this section must describe the proposer’s staffing plan. To submit a responsive proposal, proposers shall:
Identify the personnel resources that will be assigned to the project
State the proportion of time that personnel will allocate to the project
Provide a job description for each title assigned to the identified personnel
Provide resumes for assigned staff reflecting their qualifications and work experience in the area of Commercial Brokerage and Consultant Advisory Services.
Service Requirements:
11. Networking and Native DICOM 3 Compatibility:
Discuss the system’s networking capabilities with respect to patient data information systems and department management systems and the system’s ability to transfer reports, data and images between PC’s via networks, FAX, and modems. Image transfer shall comply with Native DICOM 3 protocols. If these features are optional, state additional cost for each capability. Selected vendor must provide their Native DICOM 3 standards for the system and their DICOM conformance statement.
12. Remote Service Diagnostics:
State the availability of remote service diagnostics for this equipment and any hardware, software, licensing, and telecommunications connections required for UCHC to take advantage of these remote diagnostics. State the costs and/or licensing fees required of UCHC following the warranty period to access these remote diagnostics. Following the warranty period and for the life of the device, the vendor shall provide UCHC with access to these remote diagnostics regardless of the service program selected by UCHC for this device.
B. Digital and/or CR Radiography Systems:
1. Technical Specifications: See Exhibit A.
2. Technical Features: See Exhibit A
C. Digital Radiographic Units:
1. Technical Specifications: See Exhibit B.
2. Technical Features: See Exhibit B.
3. Digital and/or CR Units:
a) The systems must be capable of DICOM store of images.
b) The systems must have DICOM RIS interface capable of Work List Management.
c) Do the systems have Modality Performed Procedure Step capability for bi-directional RIS communication?
d) Provide cost options for single reader and Multi- reader CR readers
Cost:
To provide a responsive proposal, proposers shall provide a detailed cost proposal for the software, integration and consulting services, training, service/maintenance fees and associated hardware costs (or estimates), and all other fees required to successfully implement the solution.
The vendor shall list the available service options following the warranty period and shall list labor and travel rates for normal and after-hours service on a time & materials basis and typical Preventative Maintenance (PM) costs.
a) Full Service Proposal: For each of the Digital Radiographic Units state the cost of a full service contract including Preventive Maintenance Inspections (PM’s), parts, labor, X-ray tubes, flat detector, and travel service provided during the PPM.
b) In-House Support Proposal: For each of the Digital Radiographic Units, state the cost of a Biomed-Support service contract, in which the in-house personnel will provide first echelon support for equipment failures during normal working hours 8:00am – 5:00pm, Monday through Friday. Following first echelon response by in-house personnel or for service problems arising after normal hours, the selected vendor shall respond and provide full labor, travel, and parts as needed to resolve service problems. The selected vendor shall perform all PM’s as would be consistent with full service coverage.
Time & Management Proposal: For each of the Digital Radiographic Units, state the cost of service performed on a time and materials basis including travel or zone charges. Include the premium rates for after-hours, weekends and holidays.
State the cost of a preventive maintenance inspection with typical labor and travel hours required as well as expected PM parts costs.
State whether the selected vendor will offer repair parts at a cost discounted off list price, at list price, or at a cost higher than list price and state what that percent will be.
Other Options: For each of the Digital Radiographic Units, state the availability of any other service options that are provided by the vendor to allow UCHC flexibility in determining the optimum service program for the device. This would include service programs with shared risk and maximum labor and parts cost.
Meetings with Proposers
At its discretion, the Selection Committee may convene meetings with some proposers to gain a better understanding of the proposals. The meetings may involve demonstrations, interviews, presentations, and/or site visits, if the Selection Committee decides meetings are warranted. The mandatory Prebid Meeting for this RFP will be held on Feb 28, 2013 2:00-4:00 p.m. Drawings and other technical materials for the Digital and/or CR Radiographic spaces will be provided to attending vendors at this meeting.