## Sheet1
|  |  | COMBO | [5 empty] | STAND ALONE
| Panel | SMOKE | SMOKE/CO | HEAT | PULL | DUCT | AED Supervisory | BATTERY LOCATIONS | CO DETECTORS | ELEVATOR BANKS | FLOORS | SECURITY
ON MAIN CAMPUS IRC PANELS
BARNARD HALL | IRC | 152 | 0 | 33 | 20 | 1 | 0 | 2 | 0 | 2 | 4 |  | IRC Panel may be switched to an EST Panel in June 2018
EAST HALL | IRC | 100 | 0 | 19 | 22 | 3 | 0 | 1 | 0 | 2 | 3
KAISER HALL | IRC | 85 | 0 | 63 | 25 | 25 | 3 | 4 | 0 | 1 | 2 |  | SEE NOTE BELOW UNDER CONSTRUCTION
MALONEY HALL | IRC | 106 | 0 | 38 | 26 | 1 | 0 | 1 | 0 | 1 | 3 | 1 Location
MARIA SANFORD HALL | IRC | 24 | 0 | 23 | 6 | 0 | 0 | 1 | 0 | 1 | 3 | 3 Locations
MEMORIAL HALL | IRC | 72 | 0 | 43 | 32 | 6 | 1 | 1 | 0 | 3 | 3
POWERHOUSE | IRC | 6 | 0 | 7 | 6 | 0 | 0 | 1 | 0 | 0 | 2
STUDENT CENTER | IRC | 30 | 0 | 2 | 28 | 19 | 1 | 5 | 0 | 1 | 3 |  | TWO EVAX Panels Separate to the Main IRC Panel, It is monitored by the IRC Panel Evac Only
VANCE ACADEMIC HALL | IRC | 62 | 0 | 8 | 16 | 10 | 1 | 5 | 0 | 1 | 5
WELTE HALL | IRC | 101 | 0 | 36 | 17 | 9 | 1 | 2 | 0 | 1 | 3
ON MAIN CAMPUS EST PANELS
ARUTE FIELD (FOOTBALL) | EST | 16 | 0 | 11 | 26 | 11 | 2 | 5 | 0 | 0 | 2
BARROWS HALL | EST | 260 | 0 | 27 | 20 | 2 | 0 | 8 | 6 | 1 | 8
BEECHER HALL | EST | 130 | 67 | 29 | 15 | 8 | 1 | 2 | 0 | 1 | 4 |  | NOTE THE CO Detectros at SMOKE/CO SIGA PCOS
BURRITT LIBRARY | EST | 275 | 0 | 24 | 31 | 8 | 1 | 5 | 0 | 1 | 8
CARROLL HALL | EST | 194 | 0 | 35 | 19 | 4 | 0 | 3 | 3 | 1 | 4
COPERNICUS HALL | EST | 185 | 0 | 17 | 37 | 21 | 1 | 4 | 0 | 1 | 6
DAVIDSON HALL | EST | 203 | 0 | 102 | 39 | 12 | 1 | 7 | 0 | 1 | 2 |  | w/Full Attic and Basement
ENERGY CENTER | EST | 6 | 0 | 13 | 7 | 7 | 1 | 2 | 0 | 0 | 3
ENGINEERING LABS | EST | 14 | 0 | 12 | 5 | 2 | 0 | 2 | 0 | 0 | 1
GALLAUDET HALL | EST | 282 | 5 | 23 | 25 | 5 | 0 | 10 | 5 | 1 | 6 |  | NOTE THE CO Detectros at SMOKE/CO SIGA PCOS
HILL TOP CAFÉ | EST | 14 | 0 | 12 | 8 | 5 | 1 | 2 | 0 | 1 | 2
JAMES HALL | EST | 368 | 0 | 12 | 26 | 5 | 0 | 5 | 0 | 1 | 8
MARCUS WHITE HALL | EST | 146 | 0 | 17 | 28 | 4 | 0 | 1 | 0 | 0 | 4 | 2 Locations | Marcus White and Marcus White Annex all reort to the same panel
MARCUS WHITE ANNEX |  | 52 | 0 | 6 | 9 | 4 | 0 | 2 | 0 | 2 | 4
MID CAMPUS RESIDENT HALL | EST | 0 | 1018 | 0 | 35 | 5 | 1 | 93 | 0 | 2 | 8 |  | 2 TEL COM EACH Fl avg 8 Boosters in each
NOTE THE CO Detectros at SMOKE/CO SIGA PCOS
PUBLIC SAFETY (POLICE) DISPATCH | EST | 20 | 0 | 5 | 9 | 11 | 1 | 3 | 0 | 1 | 3
SAM MAY HALL | EST | 137 | 0 | 14 | 15 | 2 | 1 | 2 | 3 | 1 | 4 |  | NOTE THE CO Detectros at SMOKE/CO SIGA PCOS
SETH NORTH HALL | EST | 120 | 65 | 11 | 14 | 19 | 0 | 2 | 0 | 1 | 4
SHERIDEN HALL | EST | 245 | 5 | 34 | 28 | 8 | 0 | 10 | 5 | 1 | 6 |  | NOTE THE CO Detectros at SMOKE/CO SIGA PCOS
SOCIAL SCIENCES HALL | EST | 70 | 0 | 6 | 17 | 30 | 1 | 6 | 0 | 1 | 4
VANCE (RESIDENTAL) HALL -NORTH QUAD | EST | 360 | 0 | 24 | 39 | 2 | 0 | 14 | 0 | 1 | 8
BARROWS PUMP HOUSE (SOUTH) |  | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 |  | Devices tied into Barrows Hall Panel
COPERNICUS PUMP HOUSE (EAST) |  | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 |  | Devices tied into Copernicus Hall Panel
SHERIDEN PUMP HOUSE (NORTH) |  | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | Devices tied into Sheriden Hall Panel
COPERNICUS PARKING GARAGE (EAST) | EST | 1 | 0 | 26 | 38 | 0 | 0 | 1 | 0 | 1 | 6
STUDENT CENTER PARKING GARAGE (NORTH) | EST | 0 | 0 | 5 | 16 | 0 | 0 | 1 | 0 | 1 | 3
VANCE ACADEMIC PARKING GARGE (SOUTH) | EST | 6 | 0 | 0 | 9 | 0 | 0 | 1 | 0 | 1 | 3
WELTE PARKING GARAGE (WEST) | EST | 2 | 0 | 26 | 46 | 0 | 0 | 4 | 0 | 2 | 6
OFF SITE BUILDING LOCATIONS SAME BID THOUGH PLEASE LIST SEPARATE
CCSU EARLY LEARNING (1285 East St, NEW BRITAIN) | EST | 0 | 11 | 0 | 6 | 0 | 0 | 1 | 3 | 0 | 3 |  | Reports to CCSU Public Safety via Fiber Run and has a back up dialer to an off site answering point
CCSU ITBD (DOWN TOWN/185 Main St., NEW BRITAIN) | EST | 198 | 0 | 20 | 17 | 4 | 0 | 7 | 0 | 1 | 5 |  | Reports to CCSU Public Safety via Fiber Run and has a back up dialer to an off site answering point
CCSU GROUNDS BUILDING (195 Coccomo Cir., NEW BRITAIN) | EST | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 1 |  | Reports to an off site answering point
CCSU OLD GROUNDS/MUSIC STUDIO | EST | 6 | 0 | 0 | 5 | 0 | 0 | 1 | 0 | 0 | 1 |  | Reports to CCSU Public Safety via Fiber Run
(Located on Ella Grasso Dr, near Arute Field)
COSC--CHARTER OAK STATE COLLEGE | IRC | 17 | 0 | 3 | 6 | 1 | 0 | 1 | 0 | 1 | 3 |  | Separate College from CCSU, though CCSU monitors the FACP at CCSU Public Safety.
(Across from James Hall on Paul Manafort Dr.) | [12 empty] | Reports in via IRC LOOP #4 (Copper)
CURRENT and APPROVED/SCHEDULED CONSTRUCTION PROJECTS
DILORETTO HALL |  | Buildings are off line, expected to be online with one new EST Panel located in Diloretto Hall
(New "AMMON" Atrium) |  | January/February 2019 Contract for Testing to be ammended to include testing at that time
WILLARD HALL |  | When buildings reopens this will be one building, with one main panel with an new Lobby/Atrium Connection
FINAL COUNTS TO BE DETERMINED, PRICE SHALL BE IN COMPARRISON TO EXISTING BUILDINGS PER CONTRACT
KAISER ANNEX (New Rec Center) |  | Kaiser (Bubble) Annex is off line. There is a new building going up in that location.
In the Feb/March 2019 time frame the panel in Kaiser Annex and the Kaiser Hall panel will be tied together
KAISER HALL |  | Testing to be ammended for Testing Contract as needed
FINAL COUNTS TO BE DETERMINED, PRICE SHALL BE IN COMPARRISON TO EXISTING BUILDINGS PER CONTRACT
BARNARD HALL RENOVATION/ADDITION SCHEDULED START JANUARY 2019--BUILDING TO GO OFF LINE-- SLATED TO BE COMPLETED IN EARLY 2020
THERE WILL BE NO TESTING IN THE BUILDING DURING THIS TIME FRAME
Testing to be ammended for Testing Contract as needed
FINAL COUNTS TO BE DETERMINED, PRICE SHALL BE IN COMPARRISON TO EXISTING BUILDINGS PER CONTRACT