## DW_Inorg_WC
13PSX0173 | DRINKING WATER INORGANIC/ WET CHEM TESTS
Exhibit B - 1 |  |  |  |  | Turnaround Time
Item | ANALYTE/ METHOD | Description | Unit Price Per Sample | 5 day | 3 day | 48 hours | 24 hours | <24 hours(emergency)
DWI-1 | Alkalinity
DWI-1a | ASTM 1067-02 B | Titration
DWI-1b | ASTM 1067-92 B | Titration
DWI-1c | SM2320B | Titration |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-1d | USGS I-1030-85 | Titration
DWI-1e | Other (Specify Method)
DWI-2 | Aluminum
DWI-2a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-2b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-2c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-2d | EPA 200.9 rev 2.2 | GFAAS
DWI-2e | SM3111D | FLAAS
DWI-2f | SM3113B | GFAAS
DWI-2g | SM3120B | ICP/AES
DWI-2h | Other (Specify method)
DWI-3 | Ammonia-Nitrogen (report as N)
Distillation required for colorimetric methods
DWI-3a | EPA 350.1 | Colorimetric
DWI-3b | EPA 350.3 | Electrode
DWI-3c | SM4500-NH3 D | Electrode
DWI-3d | SM4500-NH3 G | Colorimetric
DWI-3e | Other (Specify method) SM4500-NH3 C. |  |  | 8 | 9.6 | 10 | 12 | 20
DWI-4 | Antimony
DWI-4a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-4b | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-4c | EPA 200.9 rev 2.2 | GFAAS
DWI-4d | SM3113B | GFAAS
DW4e | Other (Specify method)
DWI-5 | Arsenic
DWI-5a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-5b | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-5c | EPA 200.9 rev 2.2 | GFAAS
DWI-5d | SM3113B | GFAAS
DWI-5e | SM3114B | Hydride/AAS
DWI-5f | Other (Specify method)
DWI-6 | Asbestos
DWI-6a | EPA 100.1 *ProScience Analytical Services, Inc.* | TEM |  | 130
DWI-6b | EPA 100.2 | TEM
DWI-7 | Barium
DWI-7a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-7b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-7c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-7d | SM3111D | FLAAS
DWI-7e | SM3113B | GFAAS
DWI-7f | SM3120B | ICP/AES
DWI-7g | Other (Specify method)
DWI-8 | Beryllium
DWI-8a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-8b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-8c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-8d | EPA 200.9 rev 2.2 | GFAAS
DWI-8e | SM3113B | GFAAS
DWI-8f | SM3120B | ICP/AES
DWI-8g | Other (Specify method)
DWI-9 | Boron
DWI-9a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-9b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-9c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-9d | SM3120B | ICP/AES
DWI-9e | Other (Specify method)
DWI-10 | Bromate
DWI-10a | ASTM 6581-00 | Ion Chromatography
DWI-10b | EPA 300.1 rev 1.0 *Pace Analytical Services, Inc* | Ion Chromatography |  | 120
DWI-10c | EPA 317 rev 2.0 | Ion Chromatography
DWI-10d | EPA 321.8 | Ion Chromatography
DWI-10e | EPA 326 rev 2.0 | Ion Chromatography
DWI-11 | Bromide
DWI-11a | ASTM 6581-00 | Ion Chromatography
DWI-11b | EPA 300.0 rev 2.1 | Ion Chromatography
DWI-11c | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-11d | EPA 317 rev 2.0 | Ion Chromatography
DWI-11e | EPA 326 rev 2.0 | Ion Chromatography
DWI-11f | Other (Specify Method)
DWI-12 | Cadmium
DWI-12a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-12b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-12c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-12d | EPA 200.9 rev 2.2 | GFAAS
DWI-12e | SM3113B | GFAAS
DWI-12f | Other (Specify method)
DWI-13 | Calcium
DWI-13a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-13b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-13c | SM3111B | FLAAS
DWI-13d | SM3120B | ICP/AES
DWI-13e | SM3500 Ca B | EDTA Titration
DWI-13f | Other (Specify method)
DWI-14 | Chloride
DWI-14a | EPA 300.0 rev 2.1 | Ion Chromatography |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-14b | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-14c | SM4110 B | Ion Chromatography
DWI-14d | SM4500-Cl B | Titration
DWI-14e | SM4500-Cl D | Titration
DWI-14f | Other (Specify method)
DWI-15 | Chlorine Dioxide
DWI-15a | EPA 327 rev 1.1 | Colorimetric
DWI-15b | SM4500-ClO2 D | Titration
DWI-15c | SM4500-CLO2 E | Amperometric
DWI-15d | Other (Specify method)
DWI-16 | Chlorine (Free)
DWI-16a | ASTM D1253-03 | Amperometric
DWI-16b | ASTM D1253-86 | Amperometric
DWI-16c | SM4500-Cl D | Amperometric
DWI-16d | SM4500-Cl F | Titration
DWI-16e | SM4500-Cl G | Colorimetric |  | 8 | 9.6 | 10 | 12 | 20
DWI-16f | SM4500-Cl H | Colorimetric
DWI-16g | Other (Specify method)
DWI-17 | Chlorine (Total)
DWI-17a | ASTM D1253-03 | Amperometric
DWI-17b | ASTM D1253-86 | Amperometric
DWI-17c | SM4500-Cl D | Amperometric
DWI-17d | SM4500-Cl E | Amperometric
DWI-17e | SM4500-Cl F | Titration
DWI-17f | SM4500-Cl G | Colorimetric |  | 8 | 9.6 | 10 | 12 | 20
DWI-17g | SM4500-Cl I | Electrode
DWI-17h | Other (Specify method)
DWI-18 | Chlorine (Combined)
DWI-18a | ASTM D1253-03 | Amperometric
DWI-18b | ASTM D1253-86 | Amperometric
DWI-18c | SM4500-Cl D | Amperometric
DWI-18d | SM4500-Cl F | Titration
DWI-18e | SM4500-Cl G | Colorimetric |  | 8 | 9.6 | 10 | 12 | 20
DWI-18f | Other (Specify method)
DWI-19 | Chlorite
DWI-19a | ASTM 6581-00 | Ion Chromatography
DWI-19b | EPA 300.0 rev 2.1 | Ion Chromatography
DWI-19c | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-19d | EPA 317 rev 2.0 | Ion Chromatography
DWI-19e | EPA 326 rev 1.0 | Ion Chromatography
DWI-19f | EPA 327 rev 1.1 | Colorimetric
DWI-19g | SM4500-CLO2 E | Amperometric
DWI-19h | Other (Specify method)
DWI-20 | Chromium
DWI-20a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-20b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-20c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-20d | EPA 200.9 rev 2.2 | GFAAS
DWI-20e | SM3113B | GFAAS
DWI-20f | SM3120B | ICP/AES
DWI-20g | Other (Specify method)
DWI-21 | Color
DWI-21a | SM2120 B | Colorimetric |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-22 | Conductivity
DWI-22a | ASTM 1125 | Meter
DWI-22b | SM2510B | Meter |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-23 | Copper
DWI-23a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-23b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-23c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-23d | EPA 200.9 rev 2.2 | GFAAS
DWI-23e | SM3111B | FLAAS
DWI-23f | SM3113B | GFAAS
DWI-23g | SM3120B | ICP/AES
DWI-23h | Other (Specify method)
DWI-24 | Cyanide (Note distillation required for all methods)
DWI-24a | EPA 335.4 | Colorimetric |  | 14 | 16.8 | 17.5 | 21 | 35
DWI-24b | SM4500 CN C | Colorimetric
DWI-24c | SM4500 CN E | Colorimetric
DWI-24d | SM4500 CN F | Electrode
DWI-24e | SM4500 CN G | Amenable
DWI-24f | USGS I-3300-85 | Colorimetric
DWI-24g | Other (Specify method)
DWI-25 | Dissolved Organic Carbon
DWI-25a | EPA 415.3 rev 1.1 | UV
DWI-25b | SM5310 B | Analyzer |  | 20 | 24 | 25 | 30 | 50
DWI-25c | SM5310 C | Analyzer
DWI-25d | SM5310 D | Analyzer
DWI-26 | Fluoride
DWI-26a | EPA 300.0 rev 2.1 | Ion Chromatography |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-26b | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-26c | SM4110 B | Ion Chromatography
DWI-26d | SM4500 F-B | Distillation
DWI-26e | SM4500 F-C | Electrode
DWI-26f | SM4500 F-D | Colorimetric
DWI-26g | SM4500 F-E | Colorimetric
DWI-26h | Other (Specify method)
DWI-27 | Foaming Agents (Detergents)
DWI-27a | SM5540 C *Phoenix Environmental Labs, Inc. * | Colorimetric |  | 20 | 24 | 25 | 30 | 50
DWI-28 | Hardness (Total)
DWI-28a | SM2340B | Calculation |  | 10 | 12 | 12.5 | 15 | 25
DWI-28b | SM2340C | Titration
DWI-28c | Other (Specify method)
DWI-29 | Iron
DWI-29a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-29b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-29c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-29d | EPA 200.9 rev 2.2 | GFAAS
DWI-29e | SM3111B | FLAAS
DWI-29f | SM3113B | GFAAS
DWI-29g | SM3120B | ICP/AES
DWI-29h | Other (Specify method)
DWI-30 | Lead
DWI-30a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-30b | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-30c | EPA 200.9 rev 2.2 | GFAAS
DWI-30d | SM3113B | GFAAS
DWI-30e | Other (Specify method)
DWI-31 | Magnesium
DWI-31a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-31b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-31c | SM3111B | FLAAS
DWI-31d | SM3120B | ICP/AES
DWI-31e | SM3500-Mg B | Calculation
DWI-31f | Other (Specify method)
DWI-32 | Manganese
DWI-32a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-32b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-32c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-32d | EPA 200.9 rev 2.2 | GFAAS
DWI-32e | SM3111B | FLAAS
DWI-32f | SM3113B | GFAAS
DWI-32g | SM3120B | ICP/AES
DWI-32h | Other (Specify method)
DWI-33 | Mercury
DWI-33a | EPA 200.8 rev 5.4 | ICP/MS
DWI-33b | EPA 245.1 rev 3.0 | CVAAS |  | 12 | 14.4 | 15 | 18 | 30
DWI-33c | EPA 245.2 | CVAAS
DWI-33d | SM3112 B | CVAAS
DWI-33e | Other (Specify method)
DWI-34 | Molybdenum
DWI-34a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-34b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-34c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-34d | SM3120B | ICP/AES
DWI-34e | Other (Specify method)
DWI-35 | Nickel
DWI-35a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-35b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-35c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-35d | EPA 200.9 rev 2.2 | GFAAS
DWI-35e | SM3113B | GFAAS
DWI-35f | SM3120B | ICP/AES
DWI-35g | Other (Specify method)
DWI-36 | Nitrate-Nitrogen (Report as N)
DWI-36a | EPA 300.0 rev 2.1 | Ion Chromatography |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-36b | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-36c | EPA 353.2 rev 2.0 | Colorimetric
DWI-36d | SM4110 B | Ion Chromatography
DWI-36e | SM4500-NO3 D | Electrode
DWI-36f | SM4500-NO3 E | Colorimetric
DWI-36g | SM4500-NO3 F | Colorimetric
DWI-36h | Other (Specify method)
DWI-37 | Nitrite-Nitrogen (Report a N)
DWI-37a | EPA 300.0 rev 2.1 | Ion Chromatography |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-37b | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-37c | EPA 353.2 rev 2.0 | Colorimetric
DWI-37d | SM4110 B | Ion Chromatography
DWI-37e | SM4500-NO2 B | Colorimetric
DWI-37f | SM4500-NO3 E | Colorimetric
DWI-37g | SM4500-NO3 F | Colorimetric
DWI-37h | Other (Specify method)
DWI-38 | Odor
DWI-38a | SM2150 B | Threshold No. |  | 4 | 4.8 | 5 | 6 | 10
DWI-39 | Perchlorate
DWI-39a | EPA 314.0 *Chemserve* | Ion Chromatography |  | 140
DWI-39b | EPA 314.1 | Ion Chromatography
DWI-39c | EPA 331.0 | LC/EMI/MS
DWI-39d | EPA 332.0 | IC-ESI/MS
DWI-40 | ortho-Phosphate (Report as P)
DWI-40a | EPA 300.0 rev 2.1 | Ion Chromatography
DWI-40b | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-40c | EPA 365.1 rev 2.0 | Colorimetric
DWI-40d | SM4110 B | Ion Chromatography
DWI-40e | SM4500-P E | Colorimetric
DWI-40f | SM4500-P F | Colorimetric
DWI-40g | Other (Specify method) ASTM D515-88(A) |  |  | 10 | 12 | 12.5 | 15 | 25
DWI-41 | pH
DWI-41a | EPA 150.1 | Meter
DWI-41b | EPA 150.2 | Meter
DWI-41c | SM4500-H+B | Meter
DWI-41d | Other (Specify method) ASTM D 1293-99B |  |  | 4 | 4.8 | 5 | 6 | 10
DWI-41E | Potassium
DWI-41f | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-41g | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-41h | SM3111B | FLAAS
DWI-41i | SM3120B | ICP/AES
DWI-41j | Other (Specify method)
DWI-42 | Selenium
DWI-42a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-42b | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-42c | EPA 200.9 rev 2.2 | GFAAS
DWI-42d | SM3113B | GFAAS
DWI-42e | SM3114B | Hydride/AAS
DWI-42f | Other (Specify method)
DWI-43 | Silica
DWI-43a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-43b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-43c | SM3120B | ICP/AES
DWI-43d | SM4500-Si D | Colorimetric
DWI-43e | SM4500-Si E | Colorimetric
DWI-43f | SM4500-Si F | Colorimetric
DWI-43g | SM4500-SiO2 C | Colorimetric
DWI-43h | SM4500-SiO2 D | Colorimetric
DWI-43i | SM4500-SiO2 E | Colorimetric
DWI-43j | Other (Specify method)
DWI-44 | Silver
DWI-44a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-44b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-44c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-44d | EPA 200.9 rev 2.2 | GFAAS
DWI-44e | SM3111B | FLAAS
DWI-44f | SM3113B | GFAAS
DWI-44g | SM3120B | ICP/AES
DWI-44h | Other (Specify method)
DWI-45 | Sodium
DWI-45a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-45b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-45c | SM3111B | FLAAS
DWI-45d | Other (Specify method)
DWI-46 | Sulfate
DWI-46a | EPA 300.0 rev 2.1 | Ion Chromatography |  | 6 | 7.2 | 7.5 | 9 | 15
DWI-46b | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-46c | EPA 375.2 rev 2.0 | Colorimetric
DWI-46d | SM4110 B | Ion Chromatography
DWI-46e | SM4500-SO42 C | Gravimetric
DWI-46f | SM4500-SO42 D | Gravimetric
DWI-46g | SM4500-SO42 E | Turbidimetric
DWI-46h | SM4500-SO42 F | Colorimetric
DWI-46i | Other (Specify method)
DWI-47 | Temperature
DWI-47a | SM2550
DWI-48 | Thallium
DWI-48a | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-48b | EPA 200.9 rev 2.2 | GFAAS
DWI-48c | Other (Specify method)
DWI-49 | Tin
DWI-49a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-49b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-49c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-49d | SM3120B | ICP/AES
DWI-49e | Other (Specify method)
DWI-50 | Total Dissolved Solids
DWI-50a | SM2540 C | Gravimetric |  | 7 | 8.4 | 8.75 | 10.5 | 17.5
DWI-51 | Total Organic Carbon
DWI-51a | EPA 415.3 rev 1.1 | UV
DWI-51b | SM5310 B | Analyzer |  | 20 | 24 | 25 | 30 | 50
DWI-51c | SM5310 C | Analyzer
DWI-51d | SM5310 D | Analyzer
DWI-51e | Other (Specify method)
DWI-52 | Turbidity
DWI-52a | EPA 180.1 rev 2.0 | Nephelometer |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-52b | SM2130B | Nephelometer
DWI-53 | Vanadium
DWI-53a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-53b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-53c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-53d | SM3120B | ICP/AES
DWI-53e | Other (Specify method)
DWI-54 | Zinc
DWI-54a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-54b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-54c | EPA 200.8 rev 5.4 | ICP/MS |  | 5 | 6 | 6.25 | 7.5 | 12.5
DWI-54d | SM3111B | FLAAS
DWI-54e | SM3120B | ICP/AES
DWI-54f | Other (Specify method)
INORGANIC ANALYSIS SUITES
DWI-55 | General Heavy Metals Suite
Analytes: Aluminum, Antimony, Arsenic, Barium, Beryllium, Boron, Cadmium,
Chromium, Copper, Iron, Lead, Manganese, Mercury, Molybdenum, Nickel,
Selenium, Silver, Thallium, Tin, Vanadium, and Zinc.
DWI-55a | EPA 200.8 rev 5.4 | ICP/MS
DWI-55b | Analysis using a combination of approved ICP/AES, ICP/MS, GFAAS, and CVAAS methods
DWI-56 | Select Metals Suite
Analytes: Calcium, Copper, Iron, Magnesium, Manganese, Potassium and Sodium
DWI-56a | EPA 200.5 rev 4.2 | ICP-AES (Axial)
DWI-56b | EPA 200.7 rev. 4.4 | ICP-AES |  | 4 | 4.8 | 5 | 6 | 10
DWI-56c | SM3111B | FLAAS
DWI-56d | SM3120B | ICP/AES
DWI-57 | Ion Chromatography Suite
Analytes: Bromide, Chloride, Fluoride, Nitrate, Nitrite, o-Phosphate, and Sulfate
| EPA 300.0 rev 2.1 | Ion Chromatography
| EPA 300.1 rev 1.0 | Ion Chromatography
DWI-58 | Disinfection Byproducts Suite
Analytes: Bromate, Bromide, and Chlorite
DWI-58a | EPA 300.1 rev 1.0 | Ion Chromatography
DWI-58b | EPA 317 rev 2.0 | Ion Chromatography
DWI-59 | General Potability Suite
Must use an approved drinking water method
Analytes: Total coliforms plus either e. coli or fecal coliforms,
color, odor, turbidity, pH, ammonia-N, nitrate, nitrite, alkalinity,
hardness (total), chloride, sodium, iron, and manganese.
DWI-59a | Full Analytical Suite
DWI-60 | Langelier Saturation Index
Requires TDS, Temperature, calcium hardness, and alkalinity
DWI-60a | Langelier Saturation Index |  |  | 23 | 27.6 | 28.75 | 34.5 | 57.5

## DW_Org
13PSX0173 | DRINKING WATER ORGANIC CHEMISTRY TESTS
Exhibit B - 1 |  |  |  |  | Turnaround Time
Item | ANALYTE/ METHOD | Description | Unit Price per sample
|  |  |  | Standard | 3 day | 48 hours | 24 hours | <24 hours(emergency)
DWO-1 | 2,4-D
DWO-1a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 150
DWO-1b | EPA 515.2 rev 1.1 | GC/ECD
DWO-1c | EPA 515.3 rev 1.0 | GC/ECD
DWO-1d | EPA 515.4 rev 1.0 | GC/ECD
DWO-1e | EPA 555 rev 1.0 | HPLC
DWO-1f | ASTM D-5317-93 | GC/ECD
DWO-2 | 3-Hydroxy Carbofuran
DWO-2a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-2b | EPA 531.2 rev 1.0 | HPLC
DWO-2c | SM6610 B | HPLC
DWO-2d | Other (Specify Method)
DWO-3 | Alachlor
DWO-3a | EPA 505 rev 2.1 | GC/ECD
DWO-3b | EPA 507 rev 2.1 *Phoenix Environmental Labs, Inc. * | GC/NPD |  | 125
DWO-3c | EPA 508.1 rev 2.0 | GC/ECD
DWO-3d | EPA 525.2 rev 2.0 | GC/MS
DWO-3e | EPA 551.1 rev 1.0 | GC/ECD
DWO-4 | Aldicarb
DWO-4a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-4b | EPA 531.2 rev 1.0 | HPLC
DWO-4c | SM6610 B | HPLC
DWO-4d | Other (Specify Method)
DWO-5 | Aldicarb Sulfone
DWO-5a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-5b | EPA 531.2 rev 1.0 | HPLC
DWO-5c | SM6610 B | HPLC
DWO-5d | Other (Specify Method)
DWO-6 | Aldicarb Sulfoxide
DWO-6a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-6b | EPA 531.2 rev 1.0 | HPLC
DWO-6c | SM6610 B | HPLC
DWO-6e | Other (Specify Method)
DWO-6F | Adrin
DWO-6g | EPA 505 rev 2.1 | GC/ECD
DWO-6h | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-6i | EPA 508.1 rev 2.0 | GC/ECD
DWO-6j | EPA 525.2 rev 2.0 | GC/MS
DWO-7 | Atrazine
DWO-7a | EPA 505 rev 2.1 | GC/ECD
DWO-7b | EPA 507 rev 2.1 *Phoenix Environmental Labs, Inc. * | GC/NPD |  | 125
DWO-7c | EPA 508.1 rev 2.0 | GC/ECD
DWO-7d | EPA 525.2 rev 2.0 | GC/MS
DWO-7e | EPA 551.1 rev 1.0 | GC/ECD
DWO-8 | Benzo(a)pyrene
DWO-8a | EPA 525.2 rev 2.0 | GC/MS |  | 65 | 78 | 81.25
DWO-8b | EPA 550 | HPLC
DWO-8c | EPA 550.1 | HPLC
DWO-9 | Butachlor
DWO-9a | EPA 507 rev 2.1 *Phoenix Environmental Labs, Inc. * | GC/NPD |  | 125
DWO-9b | EPA 508.1 rev 2.0 | GC/ECD
DWO-9c | EPA 525.2 rev 2.0 | GC/MS
DWO-9d | Other (Specify Method)
DWO-10 | Carbaryl (Sevin)
DWO-10a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-10b | EPA 531.2 rev 1.0 | HPLC
DWO-10c | SM6610 B | HPLC
DWO-10d | Other (Specify Method)
DWO-11 | Carbofuran
DWO-11a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-11b | EPA 531.2 rev 1.0 | HPLC
DWO-11c | SM6610 B | HPLC
DWO-12 | Chlordane
DWO-12a | EPA 505 rev 2.1 | GC/ECD
DWO-12b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-12c | EPA 508.1 rev 2.0 | GC/ECD
WD-12d | EPA 525.2 rev 2.0 | GC/MS
DWO-13 | Dalapon
DWO-13a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-13b | EPA 515.3 rev 1.0 | GC/ECD
DWO-13c | EPA 515.4 rev 1.0 | GC/ECD
DWO-13d | EPA 552.1 rev 1.0 | GC/ECD
DWO-13e | EPA 552.2 rev 1.0 | GC/ECD
DWO-13f | EPA 552.3 rev 1.0 | GC/ECD
DWO-14 | Di-(2-ethylhexyl) adipate
DWO-14a | EPA 506 rev 1.1 | GC/PID
DWO-14b | EPA 525.2 rev 2.0 | GC/MS |  | 65 | 78 | 81.25
DWO-15 | Di-(2-ethylhexyl) phthalate
DWO-15a | EPA 506 rev 1.1 | GC/PID
DWO-15b | EPA 525.2 rev 2.0 | GC/MS |  | 65 | 78 | 81.25
DWO-16 | Dibromochloropropane
DWO-16a | EPA 504.1 rev 1.1 | GC/ECD |  | 30 | 36 | 37.5 | 45 | 75
DWO-16b | EPA 551.1 rev 1.0 | GC/ECD
DWO-17 | Dicamba
DWO-17a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-17b | EPA 515.2 rev 1.1 | GC/ECD
DWO-17c | EPA 515.3 rev 1.0 | GC/ECD
DWO-17d | EPA 515.4 rev 1.0 | GC/ECD
DWO-17e | EPA 555 rev 1.0 | HPLC
DWO-17f | Other (Specify Method)
Dieldrin
DWO-17G | EPA 505 rev 2.1 | GC/ECD
DWO-17h | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-17i | EPA 508.1 rev 2.0 | GC/ECD
DWO-17j | EPA 525.2 rev 2.0 | GC/MS
DWO-18 | Dinoseb
DWO-18a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-18b | EPA 515.2 rev 1.1 | GC/ECD
DWO-18c | EPA 515.3 rev 1.0 | GC/ECD
DWO-18d | EPA 515.4 rev 1.0 | GC/ECD
DWO-18e | EPA 555 rev 1.0 | HPLC
DWO-19 | Dioxin (2,3,7,8-TCDD)
DWO-19a | EPA 1613 *Pace Analytical Services, Inc.* | HRGC/HRMS |  | 500
DWO-20 | Diquat
DWO-20a | EPA 549.2 rev 1.0 *Pace Analytical Services, Inc.* | HPLC |  | 84
DWO-21 | Endothall
DWO-21a | EPA 548.1 rev 1.0 *Pace Analytical Services, Inc.* | GC/MS |  | 84
DWO-22 | Endrin
DWO-22a | EPA 505 rev 2.1 | GC/ECD
DWO-22b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-22c | EPA 508.1 rev 2.0 | GC/ECD
DWO-22d | EPA 525.2 rev 2.0 | GC/MS
DWO-22e | EPA 551.1 rev 1.0 | GC/ECD
DWO-23 | Ethylene Dibromide (EDB)
DWO-23a | EPA 504.1 rev 1.1 | GC/ECD |  | 30 | 36 | 37.5 | 45 | 75
DWO-23b | EPA 551.1 rev 1.0 | GC/ECD
DWO-24 | Glyphosate
DWO-24a | EPA 547 *Pace Analytical Services, Inc.* | HPLC |  | 84
DWO-24b | SM6651 | HPLC
DWO-25 | Haloacetic Acids (5 Regulated)
DWO-25a | EPA 552.1 rev 1.0 | GC/ECD
DWO-25b | EPA 552.2 rev 1.0 | GC/ECD |  | 75 | 90 | 93.75
DWO-25c | EPA 552.3 rev 1.0 | GC/ECD
DWO-25d | SM6251 B | GC/ECD
DWO-26 | Heptachlor
DWO-26a | EPA 505 rev 2.1 | GC/ECD
DWO-26b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-26c | EPA 508.1 rev 2.0 | GC/ECD
DWO-26d | EPA 525.2 rev 2.0 | GC/MS
DWO-26e | EPA 551.1 rev 1.0 | GC/ECD
DWO-27 | Heptachlor Epoxide
DWO-27a | EPA 505 rev 2.1 | GC/ECD
DWO-27b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-27c | EPA 508.1 rev 2.0 | GC/ECD
DWO-27d | EPA 525.2 rev 2.0 | GC/MS
DWO-27e | EPA 551.1 rev 1.0 | GC/ECD
DWO-28 | Hexachlorobenzene
DWO-28a | EPA 505 rev 2.1 | GC/ECD
DWO-28b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-28c | EPA 508.1 rev 2.0 | GC/ECD
DWO-28d | EPA 525.2 rev 2.0 | GC/MS
DWO-28e | EPA 551.1 rev 1.0 | GC/ECD
DWO-29 | Hexachlorocylopentadiene
DWO-29a | EPA 505 rev 2.1 | GC/ECD
DWO-29b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-29c | EPA 508.1 rev 2.0 | GC/ECD
DWO-29d | EPA 525.2 rev 2.0 | GC/MS
DWO-29e | EPA 551.1 rev 1.0 | GC/ECD
DWO-30 | Lindane (gamma-BHC)
DWO-30a | EPA 505 rev 2.1 | GC/ECD
DWO-30b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-30c | EPA 508.1 rev 2.0 | GC/ECD
DWO-30d | EPA 525.2 rev 2.0 | GC/MS
DWO-30e | EPA 551.1 rev 1.0 | GC/ECD
DWO-31 | Methomyl
DWO-31a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-31b | EPA 531.2 rev 1.0 | HPLC
DWO-31c | SM6610 B | HPLC
DWO-31d | Other (Specify Method)
DWO-32 | Methoxychlor
DWO-32a | EPA 505 rev 2.1 | GC/ECD
DWO-32b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-32c | EPA 508.1 rev 2.0 | GC/ECD
DWO-32d | EPA 525.2 rev 2.0 | GC/MS
DWO-32e | EPA 551.1 rev 1.0 | GC/ECD
DWO-33 | Metolachlor
DWO-33a | EPA 507 rev 2.1 *Phoenix Environmental Labs, Inc. * | GC/NPD |  | 125
DWO-33b | EPA 508.1 rev 2.0 | GC/ECD
DWO-33c | EPA 525.2 rev 2.0 | GC/MS
DWO-33d | EPA 551.1 rev 1.0 | GC/ECD
DWO-33e | Other (Specify Method)
DWO-34 | Metribuzin
DWO-34a | EPA 507 rev 2.1 *Phoenix Environmental Labs, Inc. * | GC/NPD |  | 125
DWO-34b | EPA 508.1 rev 2.0 | GC/ECD
DWO-34c | EPA 525.2 rev 2.0 | GC/MS
DWO-34d | EPA 551.1 rev 1.0 | GC/ECD
DWO-34e | Other (Specify Method)
DWO-35 | Molinate
DWO-35a | EPA 531.1 rev 3.1 | HPLC
DWO-35b | EPA 531.2 rev 1.0 | HPLC
DWO-35c | SM6610 B | HPLC
DWO-35d | Other (Specify Method)
DWO-36 | Oxamyl
DWO-36a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-36b | EPA 531.2 rev 1.0 | HPLC
DWO-36c | SM6610 B | HPLC
DWO-37 | PCBs (As Aroclors)
DWO-37a | EPA 505 rev 2.1 | GC/ECD
DWO-37b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-37c | EPA 508.1 rev 2.0 | GC/ECD
DWO-37d | EPA 525.2 rev 2.0 | GC/MS
DWO-37 | PCBs (As Congeners)
DWO-37a | EPA 505 rev 2.1 | GC/ECD
DWO-37b | EPA 508 rev 3.1 | GC/ECD
DWO-37c | EPA 508.1 rev 2.0 | GC/ECD
DWO-37d | EPA 525.2 rev 2.0 | GC/MS
DWO-37 | PCBs (As Homologs)
DWO-37a | EPA 505 rev 2.1 | GC/ECD
DWO-37b | EPA 508 rev 3.1 | GC/ECD
DWO-37c | EPA 508.1 rev 2.0 | GC/ECD
DWO-37d | EPA 525.2 rev 2.0 | GC/MS
DWO-38 | PCBs (as Decachlorobiphenyl)
DWO-38a | EPA 508A rev 1.0 | GC/ECD
DWO-39 | Pentachlorophenol
DWO-39a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-39b | EPA 515.2 rev 1.1 | GC/ECD
DWO-39c | EPA 515.3 rev 1.0 | GC/ECD
DWO-39d | EPA 515.4 rev 1.0 | GC/ECD
DWO-39e | EPA 525.2 rev 2.0 | GC/MS
DWO-39f | EPA 555 rev 1.0 | HPLC
DWO-39g | ASTM D-5317-93 | GC/ECD
DWO-40 | Picloram
DWO-40a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-40b | EPA 515.2 rev 1.1 | GC/ECD
DWO-40c | EPA 515.3 rev 1.0 | GC/ECD
DWO-40d | EPA 515.4 rev 1.0 | GC/ECD
DWO-40e | EPA 555 rev 1.0 | HPLC
DWO-40f | ASTM D-5317-93 | GC/ECD
DWO-41 | Propachlor
DWO-41a | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-41b | EPA 508.1 rev 2.0 | GC/ECD
DWO-41c | EPA 525.2 rev 2.0 | GC/MS
DWO-41d | Other (Specify Method)
DWO-42 | Silvex (2,4,5-TP)
DWO-42a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-42b | EPA 515.2 rev 1.1 | GC/ECD
DWO-42c | EPA 515.3 rev 1.0 | GC/ECD
DWO-42d | EPA 515.4 rev 1.0 | GC/ECD
DWO-42e | EPA 555 rev 1.0 | HPLC
DWO-42f | ASTM D-5317-93 | GC/ECD
DWO-43 | Simazine
DWO-43a | EPA 505 rev 2.1 | GC/ECD
DWO-43b | EPA 507 rev 2.1 *Phoenix Environmental Labs, Inc. * | GC/NPD |  | 125
DWO-43c | EPA 508.1 rev 2.0 | GC/ECD
DWO-43d | EPA 525.2 rev 2.0 | GC/MS
DWO-43e | EPA 551.1 rev 1.0 | GC/ECD
DWO-44 | Toxaphene
DWO-44a | EPA 505 rev 2.1 | GC/ECD
DWO-44b | EPA 508 rev 3.1 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 125
DWO-44c | EPA 508.1 rev 2.0 | GC/ECD
DWO-44d | EPA 525.2 rev 2.0 | GC/MS
DWO-45 | 1,2,3-Trichloropane
DWO-45a | EPA 504.1 rev 1.1 | GC/ECD
DWO-45b | EPA 551.1 rev 1.0 | GC/ECD
DWO-46 | Trihalomethanes (Total)
DWO-46a | EPA 502.1 rev 2.1 | GC/Hall/PID
DWO-46b | EPA 524.2 rev 4.1 | GC/MS |  | 30 | 36 | 37.5 | 45 | 75
DWO-46c | EPA 551.1 rev 1.0 | GC/ECD
DWO-47 | Volatile Organics (Complete Method Compound List)
DWO-47a | EPA 502.1 rev 2.1 | GC/Hall/PID
DWO-47b | EPA 524.2 rev 4.1 | GC/MS |  | 60 | 72 | 75 | 90 | 150
DWO-47c | EPA 524.2 rev 4.1 plus library search for 10 additional |  |  | 80 | 96 | 100 | 120 | 200
non-target compounds greater than 10% of IS
DWO-48 | 1,4-Dioxane
DWO-48a | Modified SW8260 with SIM | P&T/GC/MS |  | 30 | 36 | 37.5 | 45 | 75
DWO-48b | Modified SW8270 with SIM | GC/MS |  | 80 | 96 | 100 | 120 | 200
DWO-48c | EPA 522
ORGANIC ANALYSES SUITES
DWO-49 | Method 504.1 Suite
DWO-49a | Dibromochloropropane and EDB |  |  | 30 | 36 | 37.5 | 45 | 75
DWO-49B | Dibromochloropropane, EDB & Trichloropropane
DWO-50 | Method 551.1 Suite
DWO-50a | Dibromochloropropane and EDB
DWO-50b | Dibromochloropropane, EDB & Trichloropropane
DWO-51 | General Pesticide Suite
Analytes: Alachlor, Aldrin, Atrazine, Chlordane, Dieldrin, Endrin, Heptachlor
Heptachlor epoxide, Hexachlorobenzene, Hexachlorocyclopentadiene,
Lindane, Methoxychlor, Simazine, Toxaphene, and PCBs as
Aroclors.
DWO-51a | EPA 505 rev 2.1 | GC/ECD
DWO-51b | EPA 508.1 rev 2.0 | GC/ECD
DWO-51c | EPA 525.2 rev 2.0 | GC/MS
DWO-52 | General Herbicide Suite
Analytes: 2,4-D, Dalapon, Dicamba, Dinoseb, Pentachlorophenol,
Picloram and Silvex.
DWO-52a | EPA 515.1 rev 4.0 *Phoenix Environmental Labs, Inc. * | GC/ECD |  | 165
DWO-52b | EPA 515.3 rev 1.0 | GC/ECD
DWO-52c | EPA 515.4 rev 1.0 | GC/ECD
DWO-53 | General Carbamate Pesticide Suite
Analytes: Aldicarb, Aldicarb Sulfone, Aldicarb Sulfoxide,
Carbaryl, Carbofuran, 3-Hydroxycarbofuran,
Methomyl, and Oxamyl.
DWO-53a | EPA 531.1 rev 3.1 *Phoenix Environmental Labs, Inc. * | HPLC |  | 90
DWO-53b | EPA 531.2 rev 1.0 | HPLC
DWO-53c | SM6610 B | HPLC
DWO 54 | General SVOC Suite
Analytes: Alachlor, Aldrin, Atrazine, Benzo(a)pyrene, Chlordane, Dieldrin,
Di-(2-ethylhexyl) adipate, Di-(2-ethylhexyl)phthalate, Endrin,
Heptachlor, Heptachlor epoxide, Hexachlorobenzene,
Hexachlorocyclopentadiene, Lindane, Methoxychlor, Simazine,
Toxaphene, and PCBs as Aroclors.
DWO-54a | EPA 525.2 rev 2.0 **Phoenix Environmental Labs, Inc. * | GC/MS |  | 225
DWO-54b | EPA 525.2 rev 2.0 plus library search for 30 non-target |  |  | 245
analytes greater than 10% of IS *Phoenix Environmental Labs, Inc. *

## Microbiology
13PSX0173 | Drinking Water Microbiology Methods |  |  |  | Turnaround Time
Exhibit B - 1
Item | ANALYTE/ METHOD | Description | Unit Price per sample
|  |  |  | Standard 3 day | 48 hours | 24 hours | <24 hours(emergency)
DWM | Total Coliforms
DWM-1a | SM9222 B | MF
DWM-1b | MI Media | MF |  | 10 | 10 | 12.5
DWM-1c | M-Coliblue 24 | MF
DWM-1d | Coliscan | MF
DWM-1e | Chromacolt | MF
DWM-1f | SM9221 B | MTF
DWM-1g | SM9221 D | MTF
DWM-1h | SM9223 | Colilert (P/A)
DWM-1i | SM9223 | Colilert enumeration
DWM-1j | SM9223 | Colisure
DWM-1k | E-Colite | Enz. Substrate
DWM-1l | Readycult | Enz. Substrate
DWM-1m | Fluorocult | Enz. Substrate
DWM-1n | Colitag | Enz. Substrate
DWM-2 | Fecal Coliforms
DWM-2a | SM9222D | MF |  | 10 | 10 | 12.5
DWM-2b | SM9221E (A-1 Broth) | MTF
DWM-2c | SM9221E (EC Broth) | MTF
DWM-3 | E. Coli
DWM-3a | SM9221F | Enz. Substrate
DWM-3b | SM9222G | MF
DWM-3c | MI Media | MF |  | 10 | 10 | 12.5
DWM-3d | M-Coliblue 24 | MF
DWM-3e | Coliscan | MF
DWM-3f | Chromacolt | MF
DWM-3g | SM9223 | Colilert (P/A)
DWM-3h | SM9223 | Colilert enumeration
DWM-3i | SM9223 | Colisure
DWM-3j | E-Colite | Enz. Substrate
DWM-3k | Readycult | Enz. Substrate
DWM-3l | Fluorocult | Enz. Substrate
DWM-4 | Heterotrophic Plate Count
DWM-4a | SM9215B | Pour Plate |  | 12 | 12 | 15
DWM-4b | SB9215C | Spread Plate
DWM-4c | SM9215D | MF
DWM-4d | Sim Plate | Enz Substrate
DWM-4e | R2A | MF or Plate
DWM-5 | Cryptosporidium
DWM-5a | EPA 1622 | MF
DWM-5b | EPA 1623 | MF
DWM-6 | Giardia
DWM-6a | EPA 1623 | MF
DWM-7 | Legionella
DWM-7a | CDC Procedures for the Recovery of Legionella (MF)
MICROBIOLOGY ANALYSIS SUITES
DWM-8 | Total Coliform/ E. Coli
DWM-8a | SM9223 | Colilert (P/A)
DWM-8b | SM9223 | Colilert enumeration
DWM-8c | SM9223 | Colisure
DWM-8d | E-Colite | Enz. Substrate
DWM-8e | Readycult | Enz. Substrate
DWM-8f | Fluorocult | Enz. Substrate
DWM-8g | Colitag | Enz. Substrate
DWM-8h | MI Media | MF |  | 10 | 10 | 12.5
DWM-8i | M-Coliblue 24 | MF
DWM-8j | Coliscan | MF
DWM-8k | Chromacolt | MF
DWM-8l | SM9222 B + SM9221 F or G | MF
DWM-9 | Total Coliform/ Fecal Coliform
DWM-9a | SM9222 B, C + SM9221E | MF/MTF
DWM-9b | SM9221 B, C + SM9221E | MTF
DWM-9c | SM9221 D + SM9221E | MTF
DWM-10 | Cyanobacteria Toxin
DWM-10a | Microcystin | (bidder specify method)
DWM-10b | Anatoxin-a | (bidder specify method)
DWM-10c | Clyindrospermopsin | (bidder specify method)
DWM-10d | Saxitoxins | (bidder specify method)
DWM-10e | Lipopolysaccharides | (bidder specify method)
DWM-10f | cell counts | (bidder specify method)
DWM-10g | Organism ID | (bidder specify method)

## DW & GW RAD
13PSX0173 | DRINKING AND GROUNDWATER RADIOCHEMISTRY TESTS
Exhibit B - 1 |  |  |  | Turnaround Time
Item | ANALYTE/ METHOD | Provide
|  | Unit Price per sample $ | Standard 3 day | 48 hours | 24 hours | <24 hours(emergency)
Naturally Occurring Radionuclides
DWR-1 | Gross alpha
DWR-1a | EPA 00-02
DWR-1b | SM7110 C
DWR-2 | Gross alpha and beta
DWR-2a | EPA 00-01
DWR-2b | EPA 900.1
DWR-2c | Page 1 EMSL LV 053917
DWR-2d | Page 1 EPA 600/4-75-008
DWR-2f | SM 302
DWR-2g | SM7110 B
DWR-2h | USGS R-1120-76
DWR-3 | Radium-226
DWR-3a | DHS Ra-04
DWR-3b | DHS Ra-05
DWR-3c | EPA 903.0
DWR-3d | EPA 903.1
DWR-3e | EPA Ra-03
DWR-3f | EPA Ra-04
DWR-3g | Page 13 EPA 600/4-75-008
DWR-3h | Page 16 EPA 600/4-75-008
DWR-3i | Page 19 EMSL LV 053917
DWR-3j | SM 304
DWR-3k | SM 305
DWR-3l | SM 7500-Ra B
DWR-3m | SM 7500-Ra C
DWR-3n | Other (specify method)
DWR-4 | Radium-228
DWR-4a | EPA 904.0
DWR-4b | EPA Ra-05
DWR-4c | Page 19 EMSL LV 053917
DWR-4d | Page 24 EPA 600/4-75-008
DWR-4e | SM7500-Ra D
DWR-4f | Other (specify method)
DWR-5 | Radon
DWR-5a | SM7500 Rn B
DWR-6 | Uranium
DWR-6a | DHS U-02
DWR-6b | DHS U-04
DWR-6c | EPA 200.8 rev 5.4 (ICP/MS)
DWR-6d | EPA 00-07
DWR-6e | EPA 908.0
DWR-6f | EPA 908.1
DWR-6g | Page 33 EMSL LV 053917
DWR-6h | SM 3125
DWR-6i | SM7500-U B
DWR-6k | SM7500-U C
DWR-6l | Other (specify method)
Man Made Radionuclides
DWR-7 | Gamma Emitters
DWR-7a | DHS 4.5.2.3
DWR-7b | DHS Ga-01-R
DWR-7c | EPA 901.0
DWR-7d | EPA 901.1
DWR-7e | EPA 902.0
DWR-7f | Page 92 EMSL LV 053917
DWR-7g | SM7120
DWR-7h | SM7500-Cs B
DWR-7i | SM7500-I B
DWR-7j | Other (specify method)
DWR-8 | Cesium (radioactive)
DWR-8a | DHS 4.5.2.3
DWR-8b | DHS Ga-01-R
DWR-8c | EPA 901.0
DWR-8d | EPA 901.1
DWR-8e | Page 4 EPA 600/4-75-008
DWR-8f | Page 92 EMSL LV 053917
DWR-8g | SM7120
DWR-8h | SM7500-Cs B
DWR-8i | Other (specify method)
DWR-9 | Iodine (radioactive)
DWR-9a | DHS 4.5.2.3
DWR-9b | DHS Ga-01-R
DWR-9c | EPA 901.1
DWR-9d | EPA 902.0
DWR-9e | Page 6 EPA 600/4-75-008
DWR-9f | Page 9 EPA 600/4-75-008
DWR-9g | Page 92 EMSL LV 053917
DWR-9h | SM7120
DWR-9i | SM7500-I B
DWR-9j | SM7500-I C
DWR-9k | SM7500-I D
DWR-9l | Other (specify method)
DWR-10 | Strontium 89 & 90 (Radioactive)
DWR-10a | DHS Sr-01
DWR-10b | DHS Sr-02
DWR-10c | EPA 905.0
DWR-10d | EPA Sr-04
DWR-10e | Page 29 EPA 600/4-75-008
DWR-10f | Page 65 EMSL LV 053917
DWR-10g | SM303
DWR-10h | SM7500-Sr B
DWR-10i | Other (specify method)
DWR-11 | Tritium
DWR-11a | EPA 906.0
DWR-11b | EPA H-02
DWR-11c | Page 34 EPA 600/4-75-008
DWR-11d | Page 87 EMSL LV 053917
DWR-11e | SM306
DWR-11f | SM7500-3H B
DWR-11g | Other (specify method)
Note: DHS = Dept of Homeland Security

## Misc costs
13PSX0173 | DRINKING WATER MISCELLANEOUS COSTS
Exhibit B - 1
Item | ANALYTE/ METHOD
Unit Price Per hour
On-site sample Collection Costs
DWMC-1 | Staff/Technician Wages
DWMC-1a | Regular wages/hour (8 am - 5 pm) | $ per hr.
DWMC-1b | Overtime/hour | $ per hr.
DWMC-2 | Sample Disposal Fees
DWMC-2a | Regular Sample Costs | $ per sample | 0
DWMC-2b | Any Specialty Sample Costs | $ per sample | 0